BARTON COMMUNITY COLLEGE

COURSE SYLLABUS

### Fall 2013

# GENERAL COURSE INFORMATION

Course Number:  	NATG 1115

Course Title:  	Introduction to Gas Technology

Credit Hours:	2

Prerequisite:  	None

Division/Discipline:  Workforce Training and Community Education/Natural Gas Transmission and Distribution

Course Description:  This course is intended to prepare employees in the natural gas distribution industry to perform identified job tasks in order to comply with federal regulations and industry standards.

# CLASSROOM POLICY

Students and faculty of Barton Community College constitute a special community engaged in the process of education.  The College assumes that its students and faculty will demonstrate a code of personal honor that is based upon courtesy, integrity, common sense, and respect for others both within and outside the classroom.

The College reserves the right to suspend a student for conduct that is detrimental to the College's educational endeavors as outlined in the College catalog.

Plagiarism on any academic endeavors at Barton Community College will not be tolerated.  Learn the rules of, and avoid instances of, intentional or unintentional plagiarism.

Anyone seeking an accommodation under provisions of the Americans with Disabilities Act should notify Student Support Services. Additional information about academic integrity can be found at the following link: http://academicintegrity.bartonccc.edu/

# COURSE AS VIEWED IN THE TOTAL CURRICULUM

This course is intended to prepare entry level employees or train incumbent workers in the natural gas distribution industry to perform identified job tasks to comply with federal regulations and industry standards. The course includes practical and classroom training. Upon successful completion of the course participants will be prepared to demonstrate identified skills to employer for qualification purposes.

The learning outcomes and competencies detailed in this syllabus meet, or exceed the learning outcomes and competencies specified by the Kansas Core Outcomes Project for this course, as sanctioned by the Kansas Board of Regents.

# ASSESSMENT OF STUDENT LEARNING

Barton Community College is committed to the assessment of student learning and to quality education.  Assessment activities provide a means to develop an understanding of how students learn, what they know, and what they can do with their knowledge.  Results from these various activities guide Barton, as a learning college, in finding ways to improve student learning.

## Course Outcomes:

## Upon successful completion of this course students will be able to:

## Utilize current technology to perform designated tasks within the natural gas distribution industry

## Perform tasks using methods that comply with federal regulations of the pipeline industry

## Complete identified tasks using methods that meet the transmission and distribution of natural gas industry standards

## Core Competencies

Using correct test procedures, diagnostic equipment, service information and training aids, the student will be able to:

- Describe the properties of natural gas

- Describe proper steps in emergency response and leak notification

- List causes of and methods for preventing the accidental ignition of natural gas

- Demonstrate methods of testing for carbon monoxide

- Demonstrate bar hole testing

- List indicators of combustible gas

- Demonstrate proper methods of using electronic gas detectors to identify leaks

- Prepare and perform leak surveys

- Demonstrate proper techniques when using flame ionization units

- Explain leak classifications and correct responses to those classifications

- Perform odorization tests

- Discuss “monitor” regulator systems

- Demonstrate locating and marking lines and mapping methods and technology

- Explain the installation of positive displacement meters

- Demonstrate proper methods of reading positive displacement meters

- Discuss excavation as it relates to the natural gas distribution industry

- Identify methods of preventing excavation damage

- Define “reasonable care” as it relates to excavation damage prevention in the natural gas distribution industry

- Explain trenching for the natural gas distribution industry

- Demonstrate proper methods of shutting down and restoring natural gas service

- Demonstrate proper methods of purging natural gas lines

- Identify methods of leak detection when installing and testing service lines

- Demonstrate the joining of pipe with:

- Mechanical couplings (bolt style)

- Mechanical couplings (1.25 – 2”)

- Compression type coupling

- Steel insulated and non-insulated coupling

- Demonstrate methods of polyethylene fusion including saddle, butt and socket

- Discuss corrosion and how it impacts the distribution of natural gas including

- Atmospheric Corrosion

- P/S

- Use of anodes and coatings to prevent corrosion

- Demonstrate how to adjust set point pressures on meter sets

Supplemental Competencies

- Extinguish Gas Fires

# INSTRUCTOR'S EXPECTATIONS OF STUDENTS IN CLASS

# TEXTBOOKS AND OTHER REQUIRED MATERIALS

# REFERENCES

# METHODS OF INSTRUCTION AND EVALUATION

# ATTENDANCE REQUIREMENTS

- COURSE OUTLINE