BARTON COMMUNITY COLLEGE

##### COURSE SYLLABUS

Fall 2013

## GENERAL COURSE INFORMATION

Course Number: NATG 1125

Course Title: Electrical Devices and Controls I

Credit Hours: 3

Prerequisites: NATG 1100 DC Circuit Fundamentals, and NATG 1105 AC Circuit Fundamentals.

Division/Discipline: Workforce Training and Community Education/Natural Gas Transmission and Distribution Technician.

Course Description: This course teaches students to identify basic electrical/electronic symbols in a schematic diagram, design a simple motor service in compliance with National Electrical Code mandates and recommendations, calculate voltage drop in a single or three phase AC service, and be familiar with the design, operation, and safety considerations of electrical components such as fuses, circuit breakers, overloads, conductors, conduits, contactors, and relays.  Students will also learn to build and safely troubleshoot several electro-mechanical relay circuits.

## CLASSROOM POLICY

Students and faculty of Barton Community College constitute a special community engaged in the process of education.  The college assumes that its students and faculty will demonstrate a code of personal honor that is based upon courtesy, integrity, common sense, and respect for others both within and outside the classroom.

The College reserves the right to suspend a student for conduct that is detrimental to the College’s educational endeavors as outlined in the College Catalog.

Plagiarism on any academic endeavors at Barton Community College will not be tolerated.  Learn the rules of, and avoid instances of, intentional or unintentional plagiarism.

Anyone seeking an accommodation under provisions of the Americans with Disabilities Act should notify Student Support Services. Additional information about academic integrity can be found at the following link: http://academicintegrity.bartonccc.edu/

## COURSE AS VIEWED IN THE TOTAL CURRICULUM

This course introduces the student to control circuits and provides the training to utilize safe troubleshooting techniques.  An understanding of control circuits is integral to the technician’s complete skill set required in the natural gas industry.

The learning outcomes and competencies detailed in this syllabus meet, or exceed the learning outcomes and competencies specified by the Kansas Core Outcomes Project for this course, as sanctioned by the Kansas Board of Regents.

- ASSESSMENT OF STUDENT LEARNING

Barton Community College is committed to the assessment of student learning and to quality education.  Assessment activities provide a means to develop and understanding of how students learn, what they know, and what they can do with their knowledge.  Results from these various activities guide Barton, as a learning college, in finding ways to improve student learning.

Course Outcome

Upon completion of this course, the student should be able to:

- Identify electrical/electronic symbols in a schematic diagram.

- Apply National Electrical Code mandates and recommendations..

- Calculate the voltage drop in single or three phase AC electrical services.

- Demonstrate the proper use of meters used in electrical controls.

- Define the characteristics of electromechanical relays.

- Define the characteristics of solid-state relays.

- Define the various kinds of hand-operated mechanical switches.

- Apply circuit troubleshooting skills.

Core Competencies:

- Identify electrical/electronic symbols in a schematic diagram.

- Identify electrical symbols in a schematic diagram.

- Identify electronic symbols in a schematic diagram.

- Analyze the interconnection of electrical/electronic symbols on a schematic diagram to determine how the circuit operates.

- Utilize schematic diagrams to build and troubleshoot relay control circuits.

- Apply National Electrical Code mandates and recommendations.

- Size motor starters to comply with NEMA standards.

- Identify full-load amperage of a motor.

- Analyze fuses and circuit breakers for optimal over-current protection.

- Use tables and formulae to find over-current and overload protection values.

- Use tables to find allowable conductor ampacities.

- Use tables to find allowable conduit sizes.

- Use tables and formulae to design optimal grounding systems.

- Calculate the voltage drop in single or three phase AC electrical services.

- Use single-phase formula.

- Use three-phase formula.

- Demonstrate the proper use of meters.

- Define the characteristics and safe usage of voltmeters.

- Define the characteristics and safe usage of ammeters.

- Define the characteristics and safe usage of ohmmeters.

- Define the characteristics of electromechanical relays.

- Analyze the individual components of contactors.

- Explain the advantages of machine-tool relays.

- Explain the various applications for open-face relays.

- Differentiate between momentary, latch, and time delay cube relays.

- Define the various “forms” used to describe relay contact arrangements.

- Define the characteristics of solid-state relays.

- Compare to electromechanical relays.

- Define input and output circuits.

- List and explain the four types of switching.

- Define the various kinds of hand-operated mechanical switches.

- Explain the applications for toggle, rocker-arm, rotary, dip, push-button, wafer, illuminated, and selector switches.

- Apply circuit troubleshooting skills.

- Use a voltmeter to analyze and troubleshoot circuit problems.

- Trace through schematics to identify problems.

## INSTRUCTOR'S EXPECTATIONS OF STUDENTS IN CLASS

## TEXTBOOKS AND OTHER REQUIRED MATERIALS

### REFERENCES

### METHODS OF INSTRUCTION AND EVALUATION

## ATTENDANCE REQUIREMENTS

## COURSE OUTLINE